## Slide 1: Unit 2
Fundamentals of AC Circuits

## Slide 2
Voltage | 6.2V | 11.8V | 16.2V | 19.0V | 20.0V | 19.0V | 16.2V | 11.8V | 6.2V | 0V
Angle | 18o | 36o | 54o | 72o | 90o | 108o | 126o | 144o | 162o | 180o

## Slide 4: Problem on frequency and rms value

## Slide 7: Problem on RMS value

## Slide 8: RMS and Average value

## Slide 9: Problem on Rectangular and Polar calculations

## Slide 10: Addition subtraction and Multiplication

## Slide 11: Addition subtraction and Multiplication

## Slide 12: Division

## Slide 13: Problem on Polar calculations

## Slide 14: Problem on Resultant current

## Slide 15: Problem on Representation of sin wave equations

## Slide 16: Impedance
Impedance is a complex number, with the same units as resistance, for which the SI unit is the ohm (Ω). Its symbol is usually Z, and it may be represented by writing its magnitude and phase in the polar form |Z|∠θ. However, cartesian complex number representation is often more powerful for circuit analysis purposes. Z=R+jX

## Slide 17: Impedance Representation

## Slide 18: Basic Formulae of Z
Impedance Z = R or XLor XC(if only one is present)
Impedance in series only Z = √(R2 + X2) (if both R and one type of X are present)
Impedance in series only Z = √(R2 + (|XL - XC|)2) (if R, XL, and XC are all present)
Impedance in any circuit = R + jX (j is the imaginary number √(-1))
Resistance R = ΔV / I
Inductive reactance XL = 2πƒL = ωL
Capacative reactance XC = 1 / 2πƒC = 1 / ωC

## Slide 19: Series RL Circuit

## Slide 20: Series RL Circuit
Consider a simple RL circuit in which resistor, R and inductor, L are connected in series with a voltage supply of V volts. Let us think the current flowing in the circuit is I (amp) and current through resistor and inductor is IR and IL respectively. Since both resistance and inductor are connected in series, so the current in both the elements and the circuit remains the same. i.e IR = IL = I. Let VR and Vl be the voltage drop across resistor and inductor.

## Slide 21: Resistor

## Slide 22: Inductor
In inductor, the voltage and the current are not in phase. The voltage leads that of current by 90o or in other words, voltage attains its maximum and zero value 90o before the current attains it.

## Slide 23: Inductor

## Slide 24: Series RL circuit
Step- I. In case of series RL circuit, resistor and inductor are connected in series, so current flowing in both the elements are same i.e IR = IL = I. So, take current phasor as reference and draw it on horizontal axis as shown in diagram.
Step- II. In case of resistor, both voltage and current are in same phase. So draw the voltage phasor, VR along same axis or direction as that of current phasor. i.e VR is in phase with I.
Step- III. We know that in inductor, voltage leads current by 900, so draw VL (voltage drop across inductor) perpendicular to current phasor.
Step- IV. Now we have two voltages VR and VL. Draw the resultant vector(VG) of these two voltages. Such as,

## Slide 25: Series RL circuit

## Slide 26: Impedance of Series RL Circuit
The impedance of series RL circuit opposes the flow of alternating current. The impedance of series RL Circuit is nothing but the combine effect of resistance (R) and inductive reactance (XL) of the circuit as a whole. The impedance Z in ohms is given by, Z = (R2 + XL2)0.5 and from right angle triangle, phase angle θ = tan– 1(XL/R).

## Slide 27: Impedance of Series RL Circuit

## Slide 28: Problem on XL and XC calculation

## Slide 29: Problem on Series RL circuit

## Slide 30: Problem on Series RL circuit

## Slide 32: Series RC circuit
An RC circuit (also known as an RC filter or RC network) stands for a resistor-capacitor circuit. An RC circuit is defined as an electrical circuit composed of the passive circuit components of a resistor (R) and capacitor (C), driven by a voltage source or current source.

## Slide 33: Series RC circuit

## Slide 34: Vector Diagram of RC circuit

## Slide 35: Series RC circuit
VR is drawn in phase with current 'I' because in a pure resistor the voltage and current are in phase with each other.
VC is drawn lagging with current 'I' by 900 because in a pure capacitor voltage and current are 900 out of each other i.e. voltage lags current by 900 or current leads the voltage by 900

## Slide 36: Series RC circuit

## Slide 37: Series RC circuit

## Slide 38: Series RC circuit

## Slide 39: Problem on Power and RC circuit

## Slide 40: Series RLC circuit
A series RLC circuit is one the resistor, inductor and capacitor are connected in series across a voltage supply. The resulting circuit is called series RLC circuit.

## Slide 41: Series RLC circuit

## Slide 42: Impedance series RLC circuit

## Slide 43: Basic Formulae Series RLC circuit

## Slide 44
POWER IN AC CIRCUITS

## Slide 45
POWER IN AC CIRCUITS

## Slide 46: True Power, Reactive Power and Apparent Power with Resistive and Inductive Load

## Slide 47: Problem on Series RLC circuit

## Slide 48: Problem on series RLC circuit